## Results
Pond | Date | Time | Temp_C | pH | SpCond_uS_cm | DO_mg_L | SRP_mg_L | TDP_mg_L | TP_mg_L | NH3_mg_L | UREA_mg_L | NO3_mg_L | TDN_mg_L | TN_mg_L | Sulfate_mg_L | Delta2H_‰ | Delta18O_‰ | Chla_ug_L | Alkalinity_mg_L | Notes
1 | 2020-09-09 | 11:38 | 12.11 | 8.04 | 3458 | 13.5 | 0.02755 | 0.064 | 0.1925 | 0.041975 | 0.26854 | 0.011 | 2.341 | 2.3885 | 1917.365 |  |  | 56.6564
25 | 2020-09-09 | 10:08 | 13.24 | 8.14 | 4302 | 11.05 | 0.0063 | 0.082 | 0.537 | 0.1148 | 0.28697 | 0.008 | 4.1725 | 3.8435 | 2423.065 |  |  | 105.9457
50 | 2020-09-09 | 11:08 | 12.48 | 7.95 | 6912 | 11.82 | 0.0083 | 0.0555 | 0.5725 | 0.27285 | 0.24348 | 0.02525 | 4.471 | 3.535 | 5040.67 |  |  | 122.616
63 | 2020-09-09 | 13:27 | 16.08 | 7.89 | 6962 | 12.75 | 0.0601 | 0.1405 | 0.1545 | 2.0583 | 0.77043 | 0.11865 | 7.0305 | 6.816 | 4430.4 |  |  | 3.2238
65 | 2020-09-09 | 12:35 | 12.09 | 8.16 | 8113 | 11.41 | 0.0102 | 0.112 | 0.755 | 0.29435 | 0.292 | 0.0077 | 5.103 | 4.6745 | 5253.755 |  |  | 163.7147
67 | 2020-09-09 | 12:27 | 13.67 | 8.12 | 8088 | 12.68 | 0.0112 | 0.1185 | 0.784 | 0.2603 | 0.31721 | 0.0104 | 5.257 | 4.49 | 2950.555 |  |  | 125.2533
90 | 2020-09-10 | 10:54 | 13.14 | 7.86 | 3473 | 23.75 | 0.0144 | 0.0355 | 0.1985 | -0.005 | 0.11775 | 0.00195 | 2.494 | 3.181 | 1873.025 |  |  | 34.7068
109 | 2020-09-09 | 12:54 | 14.29 | 8.65 | 1651 | 17.51 | 0.3599 | 0.3925 | 0.4045 | 0.0091 | 0.13582 | 0.002725 | 2.2765 | 2.372 | 871.23 |  |  | 3.7325
5340 | 2020-09-09 | 13:19 | 12.71 | 8.22 | 6822 | 12.43 | 0.009 | 0.082 | 0.475 | 0.3598 | 0.49765 | 0.0307 | 4.154 | 4.9105 | 3772.69 |  |  | 138.48
125 S | 2020-09-09 | 12:08 | 12.95 | 7.75 | 4571 | 14.56 | 0.0047 | 0.066 | 0.3675 | 0.19712 | 0.43251 | 0.09395 | 3.897 | 3.6465 | 2842.24 |  |  | 80.225

## RawData
SampleID | Concentration | DuplicateAVG | Abs | Dil Ratio | Manual Dil | Flags | Recovery_PRD | Position | SampleType | RunTime | RunDate | Method | CalEquation | R2 | Notes
MQ | -0.0063 |  | -0.005 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 5:31:16 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
STND | 0.9554 |  | 0.4852 | 1 | 1 |  | 95.54 | ST-2 | 3 | 5:31:34 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P01 SDWS | 0.0188 | 0.041975 | 0.0078 | 1 | 1 |  | 0 | 1 | 0 | 5:33:04 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P01 SDWS_Dup | 0.0235 |  | 0.0102 | 1 | 1 |  | -22.28 | 1 | 0 | 5:33:22 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P01 SDWS | 0.0686 |  | 0.0332 | 1 | 1 |  | 0 | 1 | 0 | 9:01:04 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P01 SDWS_Dup | 0.057 |  | 0.0272 | 1 | 1 |  | 18.43 | 1 | 0 | 9:01:22 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P25 | 0.0818 |  | 0.0398 | 1 | 1 |  | 0 | 2 | 0 | 5:34:53 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P25_Dup | 0.0561 |  | 0.0268 | 1 | 1 |  | 37.3 | 2 | 0 | 5:35:10 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P25 | 0.12 | 0.1148 | 0.0594 | 1 | 1 |  | 0 | 2 | 0 | 9:02:52 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P25_Dup | 0.1096 |  | 0.054 | 1 | 1 |  | 9.06 | 2 | 0 | 9:03:10 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P50 | 0.2744 | 0.27285 | 0.138 | 1 | 1 |  | 0 | 3 | 0 | 5:36:41 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P50_Dup | 0.2713 |  | 0.1364 | 1 | 1 |  | 1.15 | 3 | 0 | 5:36:58 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P63 | 2.3054 |  | 1.1732 | 1 | 1 | EPL,><,LH | 0 | 4 | 0 | 5:38:29 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P63_Dup | 2.2935 |  | 1.1672 | 1 | 1 | EPL,><,LH | 0.52 | 4 | 0 | 5:38:46 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P63 | 2.0921 | 2.0583 | 0.2114 | 5 | 1 | H | 0 | 4 | 0 | 6:12:15 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P63_Dup | 2.0244 |  | 0.2046 | 5 | 1 | H | 3.29 | 4 | 0 | 6:14:03 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P65 | 0.2587 |  | 0.13 | 1 | 1 |  | 0 | 5 | 0 | 5:40:17 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P65_Dup | 0.2911 |  | 0.1466 | 1 | 1 |  | -11.78 | 5 | 0 | 5:40:35 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P65 | 0.2876 | 0.29435 | 0.1448 | 1 | 1 |  | 0 | 5 | 0 | 9:04:40 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P65_Dup | 0.3011 |  | 0.1516 | 1 | 1 |  | -4.6 | 5 | 0 | 9:04:58 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
MQ | -0.0109 |  | -0.0074 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 5:49:17 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
STND | 0.9566 |  | 0.4858 | 1 | 1 |  | 95.66 | ST-2 | 3 | 5:49:35 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
MQ | -0.014 |  | -0.009 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 6:00:05 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
STND | 0.9489 |  | 0.4818 | 1 | 1 |  | 94.89 | ST-2 | 3 | 6:00:23 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P109 | 0.0121 |  | 0.0044 | 1 | 1 |  | 0 | 6 | 0 | 5:42:05 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P109_Dup | 0.0284 |  | 0.0126 | 1 | 1 |  | -80.43 | 6 | 0 | 5:42:23 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
MQ | -0.0156 |  | -0.0098 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 6:14:21 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
STND | 0.9729 |  | 0.494 | 1 | 1 |  | 97.29 | ST-2 | 3 | 6:15:51 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
MQ | 0.0103 |  | 0.0034 | 1 | 1 |  | 0 | ST-3 | 3 | 8:59:16 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
STND | 1.0702 |  | 0.5436 | 1 | 1 |  | 107.02 | ST-2 | 3 | 8:59:34 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P109 | 0.0088 | 0.0091 | 0.0026 | 1 | 1 |  | 0 | 6 | 0 | 9:06:28 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P109_Dup | 0.0094 |  | 0.003 | 1 | 1 |  | -6.49 | 6 | 0 | 9:06:46 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P125 S | 0.1593 | 0.19712 | 0.0794 | 1 | 1 |  | 0 | 7 | 0 | 5:43:53 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P125 S _Dup | 0.1936 |  | 0.0968 | 1 | 1 |  | -19.46 | 7 | 0 | 5:44:11 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P125 S | 0.2326 |  | 0.1168 | 1 | 1 |  | 0 | 7 | 0 | 9:08:16 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P125 S _Dup | 0.203 |  | 0.1016 | 1 | 1 |  | 13.6 | 7 | 0 | 9:08:34 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P67 | 0.2625 | 0.2603 | 0.132 | 1 | 1 |  | 0 | 8 | 0 | 5:45:41 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P67_Dup | 0.2581 |  | 0.1298 | 1 | 1 |  | 1.66 | 8 | 0 | 5:45:59 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P5340 | 0.3582 |  | 0.1808 | 1 | 1 |  | 0 | 9 | 0 | 5:47:29 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P5340_Dup | 0.3961 |  | 0.2 | 1 | 1 | EPL | -10.04 | 9 | 0 | 5:47:47 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P5340 | 0.36 | 0.3598 | 0.1816 | 1 | 1 |  | 0 | 9 | 0 | 9:10:04 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
P5340_Dup | 0.3596 |  | 0.1814 | 1 | 1 |  | 0.11 | 9 | 0 | 9:10:22 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
MQ | 0.0078 |  | 0.0022 | 1 | 1 |  | 0 | ST-3 | 3 | 9:11:52 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
STND | 1.0257 |  | 0.521 | 1 | 1 |  | 102.57 | ST-2 | 3 | 9:12:10 PM | 2020-09-09 | WNH3 | 1.962x + 0.0036 | 0.9999
MQ | 0.0006 |  | 0 | 1 | 1 | INV | 0 | ST-3 | 3 | 3:52:39 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
STND | 0.5081 |  | 0.244 | 1 | 1 |  | 101.63 | ST-2 | 3 | 3:52:57 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P01 SDWS | 0.0293 |  | 0.0138 | 1 | 1 |  | 0 | 1 | 0 | 3:53:51 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P01 SDWS_Dup | 0.0264 |  | 0.0124 | 1 | 1 |  | 10.46 | 1 | 0 | 3:54:09 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P01 SDWS | 0.028 | 0.02755 | 0.0131 | 1 | 1 |  | 0 | 1 | 0 | 4:50:33 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P01 SDWS_Dup | 0.0271 |  | 0.0127 | 1 | 1 |  | 3.02 | 1 | 0 | 4:50:51 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P25 | 0.007 |  | 0.0031 | 1 | 1 |  | 0 | 2 | 0 | 3:55:03 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P25_Dup | 0.006 |  | 0.0026 | 1 | 1 |  | 15.95 | 2 | 0 | 3:55:21 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P25 | 0.0061 | 0.0063 | 0.0026 | 1 | 1 |  | 0 | 2 | 0 | 4:51:45 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P25_Dup | 0.0065 |  | 0.0028 | 1 | 1 |  | -6.59 | 2 | 0 | 4:52:03 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P50 | 0.0085 | 0.0083 | 0.0038 | 1 | 1 |  | 0 | 3 | 0 | 3:56:15 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P50_Dup | 0.0081 |  | 0.0036 | 1 | 1 |  | 5.02 | 3 | 0 | 3:56:33 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P63 | 0.0599 | 0.0601 | 0.0284 | 1 | 1 |  | 0 | 4 | 0 | 3:57:27 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P63_Dup | 0.0603 |  | 0.0286 | 1 | 1 |  | -0.69 | 4 | 0 | 3:57:45 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P65 | 0.0091 |  | 0.004 | 1 | 1 |  | 0 | 5 | 0 | 3:58:40 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P65_Dup | 0.0189 |  | 0.0088 | 1 | 1 |  | -69.78 | 5 | 0 | 3:58:57 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P65 | 0.0101 | 0.0102 | 0.0045 | 1 | 1 |  | 0 | 5 | 0 | 4:52:57 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P65_Dup | 0.0103 |  | 0.0046 | 1 | 1 |  | -2.05 | 5 | 0 | 4:53:15 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P109 | 0.3573 | 0.3599 | 0.1714 | 1 | 1 |  | 0 | 6 | 0 | 3:59:52 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P109_Dup | 0.3625 |  | 0.174 | 1 | 1 |  | -1.44 | 6 | 0 | 4:00:09 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
MQ | 0.0029 |  | 0.001 | 1 | 1 |  | 0 | ST-3 | 3 | 4:04:40 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
STND | 0.5173 |  | 0.2484 | 1 | 1 |  | 103.46 | ST-2 | 3 | 4:04:58 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
MQ | 0.0009 |  | 0.0001 | 1 | 1 |  | 0 | ST-3 | 3 | 4:49:21 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
STND | 0.5241 |  | 0.2516 | 1 | 1 |  | 104.81 | ST-2 | 3 | 4:49:39 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P125 S | 0.0046 | 0.0047 | 0.0018 | 1 | 1 |  | 0 | 7 | 0 | 4:01:04 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P125 S _Dup | 0.0048 |  | 0.002 | 1 | 1 |  | -4.47 | 7 | 0 | 4:01:22 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P67 | 0.011 | 0.0112 | 0.005 | 1 | 1 |  | 0 | 8 | 0 | 4:02:16 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P67_Dup | 0.0114 |  | 0.0052 | 1 | 1 |  | -3.71 | 8 | 0 | 4:02:34 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P5340 | 0.0066 |  | 0.0028 | 1 | 1 |  | 0 | 9 | 0 | 4:03:28 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P5340_Dup | 0.0079 |  | 0.0034 | 1 | 1 |  | -17.21 | 9 | 0 | 4:03:46 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P5340 | 0.0086 | 0.009 | 0.0038 | 1 | 1 |  | 0 | 9 | 0 | 4:54:09 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
P5340_Dup | 0.0094 |  | 0.0042 | 1 | 1 |  | -9.23 | 9 | 0 | 4:54:27 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
MQ | 0.0013 |  | 0.0003 | 1 | 1 |  | 0 | ST-3 | 3 | 4:55:21 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
STND | 0.518 |  | 0.2487 | 1 | 1 |  | 103.6 | ST-2 | 3 | 4:55:39 PM | 2020-09-09 | WP1W | 2.0801x + 0.0007 | 0.9999
MQ | -0.026 |  | -0.0049 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 11:43:11 AM | 2020-09-11 | NH3K | 3.9606x - 0.0062 | 0.9996
STND | 1.086 |  | 0.2759 | 1 | 1 |  | 108.65 | ST-2 | 3 | 11:44:42 AM | 2020-09-11 | NH3K | 3.9606x - 0.0062 | 0.9996
Pond 90 20200910 | 0.002 | -0.0045 | 0.002 | 1 | 1 | >< | 0 | 1 | 0 | 11:45:00 AM | 2020-09-11 | NH3K | 3.9606x - 0.0062 | 0.9996
Pond 90 20200910_Dup | -0.011 |  | -0.0013 | 1 | 1 | INV,><,LL | -270 | 1 | 0 | 11:46:29 AM | 2020-09-11 | NH3K | 3.9606x - 0.0062 | 0.9996
MQ | -0.011 |  | -0.0013 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 11:46:48 AM | 2020-09-11 | NH3K | 3.9606x - 0.0062 | 0.9996
STND | 1.098 |  | 0.2787 | 1 | 1 |  | 109.76 | ST-2 | 3 | 11:48:17 AM | 2020-09-11 | NH3K | 3.9606x - 0.0062 | 0.9996
MQ | 0.0121 |  | 0 | 1 | 1 | INV | 0 | ST-3 | 3 | 10:26:35 AM | 2020-09-11 | WP1W | 2.1855x + 0.0122 | 0.9992
STND | 0.4879 |  | 0.2176 | 1 | 1 |  | 97.59 | ST-2 | 3 | 10:26:53 AM | 2020-09-11 | WP1W | 2.1855x + 0.0122 | 0.9992
P 90 20200911 | 0.0145 | 0.0144 | 0.001 | 1 | 1 |  | 0 | 1 | 0 | 10:27:47 AM | 2020-09-11 | WP1W | 2.1855x + 0.0122 | 0.9992
P 90 20200911_Dup | 0.0143 |  | 0.001 | 1 | 1 |  | 1.52 | 1 | 0 | 10:28:05 AM | 2020-09-11 | WP1W | 2.1855x + 0.0122 | 0.9992
MQ | 0.0136 |  | 0.0006 | 1 | 1 |  | 0 | ST-3 | 3 | 10:38:35 AM | 2020-09-11 | WP1W | 2.1855x + 0.0122 | 0.9992
STND | 0.4914 |  | 0.2192 | 1 | 1 |  | 98.29 | ST-2 | 3 | 10:38:53 AM | 2020-09-11 | WP1W | 2.1855x + 0.0122 | 0.9992
MQ | 0.005 |  | -0.0007 | 1 | 1 | INV,>< | 0 | ST-3 | 3 | 12:35:45 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
STND | 0.245 |  | 0.1244 | 1 | 1 | L | 49.09 | ST-2 | 3 | 12:36:03 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P53340 | 0.475 | 0.475 | 0.2436 | 1 | 1 |  | 0 | 1 | 0 | 12:36:57 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P53340_Dup | 0.475 |  | 0.2438 | 1 | 1 |  | -0.08 | 1 | 0 | 12:37:15 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P67 | 0.753 |  | 0.388 | 1 | 1 | ><,LH | 0 | 2 | 0 | 12:38:09 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P67_Dup | 0.792 |  | 0.4085 | 1 | 1 | ><,LH | -5.11 | 2 | 0 | 12:38:27 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P67 | 0.783 | 0.784 | 0.0783 | 5 | 1 | H | 0 | 2 | 0 | 1:27:50 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P67_Dup | 0.785 |  | 0.0785 | 5 | 1 | H | -0.25 | 2 | 0 | 1:29:02 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P125 S | 0.374 | 0.3675 | 0.1914 | 1 | 1 |  | 0 | 3 | 0 | 12:39:21 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P125 S_Dup | 0.361 |  | 0.1843 | 1 | 1 |  | 3.72 | 3 | 0 | 12:39:39 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P109 | 0.407 | 0.4045 | 0.2084 | 1 | 1 |  | 0 | 4 | 0 | 12:40:33 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P109_Dup | 0.402 |  | 0.2056 | 1 | 1 |  | 1.33 | 4 | 0 | 12:40:51 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P65 | 0.716 |  | 0.3689 | 1 | 1 | ><,LH | 0 | 5 | 0 | 12:41:45 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P65_Dup | 0.699 |  | 0.3599 | 1 | 1 | ><,LH | 2.45 | 5 | 0 | 12:42:03 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P65 | 0.757 | 0.755 | 0.0756 | 5 | 1 | H | 0 | 5 | 0 | 1:30:14 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P65_Dup | 0.753 |  | 0.0751 | 5 | 1 | H | 0.64 | 5 | 0 | 1:31:26 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P63 | 0.159 | 0.1545 | 0.0796 | 1 | 1 |  | 0 | 6 | 0 | 12:42:57 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P63_Dup | 0.15 |  | 0.075 | 1 | 1 |  | 5.72 | 6 | 0 | 12:43:15 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P50 | 0.54 |  | 0.2776 | 1 | 1 | ><,LH | 0 | 7 | 0 | 12:44:09 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P50_Dup | 0.541 |  | 0.2777 | 1 | 1 | ><,LH | -0.04 | 7 | 0 | 12:44:27 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P50 | 0.572 | 0.5725 | 0.0564 | 5 | 1 | H | 0 | 7 | 0 | 1:32:38 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P50_Dup | 0.573 |  | 0.0565 | 5 | 1 | H | -0.17 | 7 | 0 | 1:33:50 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
MQ | 0.005 |  | -0.0006 | 1 | 1 | INV,>< | 0 | ST-3 | 3 | 12:48:57 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
STND | 0.22 |  | 0.1113 | 1 | 1 | L | 44.04 | ST-2 | 3 | 12:49:15 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P25 | 0.525 |  | 0.2698 | 1 | 1 | ><,LH | 0 | 8 | 0 | 12:45:21 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P25_Dup | 0.507 |  | 0.2602 | 1 | 1 | ><,LH | 3.58 | 8 | 0 | 12:45:39 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P25 | 0.546 | 0.537 | 0.0537 | 5 | 1 | H | 0 | 8 | 0 | 1:35:02 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P25_Dup | 0.528 |  | 0.0518 | 5 | 1 | H | 3.4 | 8 | 0 | 1:36:14 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P1 | 0.197 | 0.1925 | 0.0991 | 1 | 1 |  | 0 | 9 | 0 | 12:46:33 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P1_Dup | 0.188 |  | 0.0944 | 1 | 1 |  | 4.71 | 9 | 0 | 12:46:51 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P90 | 0.205 | 0.1985 | 0.1034 | 1 | 1 |  | 0 | 10 | 0 | 12:47:45 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TP P90_Dup | 0.192 |  | 0.0967 | 1 | 1 |  | 6.5 | 10 | 0 | 12:48:03 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P53340 | 0.083 | 0.082 | 0.0399 | 1 | 1 |  | 0 | 11 | 0 | 12:50:09 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P53340_Dup | 0.081 |  | 0.0392 | 1 | 1 |  | 1.64 | 11 | 0 | 12:50:27 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P67 | 0.119 | 0.1185 | 0.0589 | 1 | 1 |  | 0 | 12 | 0 | 12:51:21 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P67_Dup | 0.118 |  | 0.0581 | 1 | 1 |  | 1.3 | 12 | 0 | 12:51:39 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P125 S | 0.066 | 0.066 | 0.0311 | 1 | 1 |  | 0 | 13 | 0 | 12:52:33 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P125 S_Dup | 0.066 |  | 0.0313 | 1 | 1 |  | -0.58 | 13 | 0 | 12:52:51 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P109 | 0.39 | 0.3925 | 0.1994 | 1 | 1 |  | 0 | 14 | 0 | 12:53:46 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P109_Dup | 0.395 |  | 0.2023 | 1 | 1 |  | -1.42 | 14 | 0 | 12:54:03 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P65 | 0.112 | 0.112 | 0.055 | 1 | 1 |  | 0 | 15 | 0 | 12:54:58 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P65_Dup | 0.112 |  | 0.055 | 1 | 1 |  | 0 | 15 | 0 | 12:55:15 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P63 | 0.141 | 0.1405 | 0.0704 | 1 | 1 |  | 0 | 16 | 0 | 12:56:10 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P63_Dup | 0.14 |  | 0.0696 | 1 | 1 |  | 1.09 | 16 | 0 | 12:56:27 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
MQ | 0.004 |  | -0.0012 | 1 | 1 | INV,>< | 0 | ST-3 | 3 | 1:02:10 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
STND | 0.232 |  | 0.1175 | 1 | 1 | L | 46.43 | ST-2 | 3 | 1:02:27 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
MQ | 0.007 |  | 0.0004 | 1 | 1 |  | 0 | ST-3 | 3 | 1:20:10 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
STND | 0.241 |  | 0.1223 | 1 | 1 | L | 48.28 | ST-2 | 3 | 1:20:28 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P50 | 0.054 | 0.0555 | 0.0249 | 1 | 1 |  | 0 | 17 | 0 | 12:57:22 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P50_Dup | 0.057 |  | 0.0264 | 1 | 1 |  | -5.22 | 17 | 0 | 12:57:39 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P25 | 0.083 | 0.082 | 0.04 | 1 | 1 |  | 0 | 18 | 0 | 12:58:34 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P25_Dup | 0.081 |  | 0.0391 | 1 | 1 |  | 2.11 | 18 | 0 | 12:58:51 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P1 | 0.065 | 0.064 | 0.0307 | 1 | 1 |  | 0 | 19 | 0 | 12:59:46 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P1_Dup | 0.063 |  | 0.0297 | 1 | 1 |  | 3.01 | 19 | 0 | 1:00:03 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P90 | 0.037 | 0.0355 | 0.0162 | 1 | 1 |  | 0 | 20 | 0 | 1:00:58 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
SDWS TDP P90_Dup | 0.034 |  | 0.0146 | 1 | 1 |  | 8.67 | 20 | 0 | 1:01:15 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
MQ | 0.007 |  | 0.0005 | 1 | 1 |  | 0 | ST-3 | 3 | 1:36:32 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
STND | *** |  | *** | 1 | 1 | SS | *** | ST-2 | 3 | 1:37:26 PM | 2020-09-18 | WP3D | 1.9254x + 0.0059 | 0.9993
MQ | 0.103 |  | 0.0334 | 1 | 1 | H | 0 | ST-3 | 3 | 3:16:07 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
STND | 2.753 |  | 0.7701 | 1 | 1 | H | 110.12 | ST-2 | 3 | 3:17:19 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
125s TDN | 3.819 |  | 1.0665 | 1 | 1 |  | 0 | 3 | 0 | 3:23:19 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
125s TDN_Dup | 3.975 | 3.897 | 1.11 | 1 | 1 |  | -4.01 | 3 | 0 | 3:24:31 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
125s TN | 3.718 |  | 1.0385 | 1 | 1 |  | 0 | 4 | 0 | 3:25:43 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
125s TN_Dup | 3.575 | 3.6465 | 0.9986 | 1 | 1 |  | 3.94 | 4 | 0 | 3:26:55 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
25 TDN | 4.135 |  | 1.1543 | 1 | 1 |  | 0 | 5 | 0 | 3:28:07 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
25 TDN_Dup | 4.21 | 4.1725 | 1.1751 | 1 | 1 | LH | -1.79 | 5 | 0 | 3:29:19 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
25 TN | 3.9 |  | 1.089 | 1 | 1 |  | 0 | 6 | 0 | 3:30:31 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
25 TN_Dup | 3.787 | 3.8435 | 1.0576 | 1 | 1 |  | 2.94 | 6 | 0 | 3:31:43 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
50 TDN | 4.296 |  | 1.1992 | 1 | 1 | LH | 0 | 7 | 0 | 3:32:55 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
50 TDN_Dup | 4.488 |  | 1.2525 | 1 | 1 | LH | -4.36 | 7 | 0 | 3:34:07 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
50 TDN | 4.557 |  | 0.427 | 3 | 1 | H | 0 | 7 | 0 | 4:13:17 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
50 TDN_Dup | 4.385 | 4.471 | 0.4111 | 3 | 1 | H | 3.84 | 7 | 0 | 4:15:23 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
50 TN | 3.608 |  | 1.0079 | 1 | 1 |  | 0 | 8 | 0 | 3:35:19 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
50 TN_Dup | 3.462 | 3.535 | 0.9672 | 1 | 1 |  | 4.14 | 8 | 0 | 3:36:31 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TDN | 7.193 |  | 2.0047 | 1 | 1 | ><,LH | 0 | 9 | 0 | 3:37:43 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TDN_Dup | 7.562 |  | 2.1072 | 1 | 1 | ><,LH | -5 | 9 | 0 | 3:38:55 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
MQ | 0.005 |  | 0.006 | 1 | 1 | >< | 0 | ST-3 | 3 | 3:44:01 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
STND | 2.821 |  | 0.789 | 1 | 1 | H | 112.84 | ST-2 | 3 | 3:45:13 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TDN | 6.842 |  | 0.6388 | 3 | 1 | H | 0 | 9 | 0 | 4:17:29 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TDN_Dup | 7.219 | 7.0305 | 0.6737 | 3 | 1 | H | -5.36 | 9 | 0 | 4:19:35 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TN | 7.595 |  | 2.1163 | 1 | 1 | ><,LH | 0 | 10 | 0 | 3:40:07 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TN_Dup | 7.146 |  | 1.9917 | 1 | 1 | ><,LH | 6.08 | 10 | 0 | 3:41:19 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TN | 6.744 |  | 0.6297 | 3 | 1 | H | 0 | 10 | 0 | 4:21:41 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
63 TN_Dup | 6.888 | 6.816 | 0.6431 | 3 | 1 | H | -2.12 | 10 | 0 | 4:23:47 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TDN | 5.211 |  | 1.4535 | 1 | 1 | ><,LH | 0 | 11 | 0 | 3:46:25 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TDN_Dup | 5.063 |  | 1.4123 | 1 | 1 | ><,LH | 2.88 | 11 | 0 | 3:47:37 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
MQ | 0.095 |  | 0.0311 | 1 | 1 | H | 0 | ST-3 | 3 | 3:56:01 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
STND | 2.908 |  | 0.8132 | 1 | 1 | H | 116.32 | ST-2 | 3 | 3:57:13 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
MQ | 0.111 |  | 0.0356 | 1 | 1 | H | 0 | ST-3 | 3 | 4:03:13 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
STND | 2.955 |  | 0.8263 | 1 | 1 | H | 118.2 | ST-2 | 3 | 4:04:25 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TDN | 5.022 |  | 0.4701 | 3 | 1 | H | 0 | 11 | 0 | 4:25:53 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TDN_Dup | 5.184 | 5.103 | 0.4851 | 3 | 1 | H | -3.17 | 11 | 0 | 4:27:59 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TN | 4.544 |  | 1.2681 | 1 | 1 | LH | 0 | 12 | 0 | 3:48:49 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TN_Dup | 4.465 |  | 1.2461 | 1 | 1 | LH | 1.76 | 12 | 0 | 3:50:01 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TN | 4.833 |  | 0.4526 | 3 | 1 | H | 0 | 12 | 0 | 4:30:05 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
65 TN_Dup | 4.516 | 4.6745 | 0.4232 | 3 | 1 | H | 6.79 | 12 | 0 | 4:32:11 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TDN | 5.418 |  | 1.5111 | 1 | 1 | ><,LH | 0 | 13 | 0 | 3:51:13 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TDN_Dup | 5.081 |  | 1.4173 | 1 | 1 | ><,LH | 6.43 | 13 | 0 | 3:52:25 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TDN | 5.203 |  | 0.4869 | 3 | 1 | H | 0 | 13 | 0 | 4:34:17 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TDN_Dup | 5.311 | 5.257 | 0.4969 | 3 | 1 | H | -2.05 | 13 | 0 | 4:36:23 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TN | 4.437 |  | 1.2384 | 1 | 1 | LH | 0 | 14 | 0 | 3:53:37 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TN_Dup | 4.584 |  | 1.2792 | 1 | 1 | LH | -3.25 | 14 | 0 | 3:54:49 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TN | 4.497 |  | 0.4215 | 3 | 1 | H | 0 | 14 | 0 | 4:38:29 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
67 TN_Dup | 4.483 | 4.49 | 0.4202 | 3 | 1 | H | 0.31 | 14 | 0 | 4:40:35 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
MQ | 0.077 |  | 0.0262 | 1 | 1 | H | 0 | ST-3 | 3 | 4:41:47 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
STND | 2.955 |  | 0.8262 | 1 | 1 | H | 118.19 | ST-2 | 3 | 4:42:59 PM | 2020-10-07 | TNAK | 3.5965x - 0.0168 | 0.9996
MQ | -0.009 |  | 0.0067 | 1 | 1 | LL | 0 | ST-3 | 3 | 9:43:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
STND | 2.452 |  | 0.7274 | 1 | 1 |  | 98.07 | ST-2 | 3 | 9:44:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 1 | 2.266 |  | 0.6731 | 1 | 1 |  | 0 | 1 | 0 | 9:45:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 1_Dup | 2.416 | 2.341 | 0.7168 | 1 | 1 |  | -6.37 | 1 | 0 | 9:46:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 25 | 4.034 |  | 1.191 | 1 | 1 |  | 0 | 2 | 0 | 9:47:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 25_Dup | 3.966 |  | 1.171 | 1 | 1 |  | 1.71 | 2 | 0 | 9:49:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 50 | 4.286 |  | 1.2646 | 1 | 1 | LH | 0 | 3 | 0 | 9:50:13 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 50_Dup | 4.456 |  | 1.3145 | 1 | 1 | LH | -3.9 | 3 | 0 | 9:51:25 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 50 | 4.199 |  | 0.4192 | 3 | 1 | H | 0 | 3 | 0 | 11:39:34 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 50_Dup | 4.235 |  | 0.4227 | 3 | 1 | H | -0.85 | 3 | 0 | 11:41:40 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 63 | 7.088 |  | 2.0856 | 1 | 1 | ><,LH | 0 | 4 | 0 | 9:52:37 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 63_Dup | 7.183 |  | 2.1134 | 1 | 1 | ><,LH | -1.33 | 4 | 0 | 9:53:49 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 63 | 6.88 |  | 0.681 | 3 | 1 | H | 0 | 4 | 0 | 11:43:46 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 63_Dup | 6.865 |  | 0.6795 | 3 | 1 | H | 0.22 | 4 | 0 | 11:45:52 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 65 | 5.071 |  | 1.4947 | 1 | 1 | ><,LH | 0 | 5 | 0 | 9:56:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 65_Dup | 5.045 |  | 1.4871 | 1 | 1 | LH | 0.51 | 5 | 0 | 9:58:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 65 | 4.647 |  | 0.463 | 3 | 1 | H | 0 | 5 | 0 | 11:47:58 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 65_Dup | 4.804 |  | 0.4783 | 3 | 1 | H | -3.32 | 5 | 0 | 11:50:04 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 109 | 2.292 |  | 0.6807 | 1 | 1 |  | 0 | 6 | 0 | 9:59:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 109_Dup | 2.261 | 2.2765 | 0.6714 | 1 | 1 |  | 1.39 | 6 | 0 | 10:00:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 125s | 3.755 |  | 1.109 | 1 | 1 |  | 0 | 7 | 0 | 10:01:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 125s_Dup | 3.96 |  | 1.1692 | 1 | 1 |  | -5.33 | 7 | 0 | 10:02:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
MQ | 0 |  | 0.0092 | 1 | 1 | LL | 0 | ST-3 | 3 | 10:11:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
STND | 2.613 |  | 0.7746 | 1 | 1 |  | 104.52 | ST-2 | 3 | 10:12:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 67 | 4.995 |  | 1.4725 | 1 | 1 | LH | 0 | 8 | 0 | 10:04:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 67_Dup | 5.064 |  | 1.4926 | 1 | 1 | ><,LH | -1.36 | 8 | 0 | 10:05:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 67 | 5.008 |  | 0.4982 | 3 | 1 | H | 0 | 8 | 0 | 11:52:10 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 67_Dup | 4.859 |  | 0.4837 | 3 | 1 | H | 3.01 | 8 | 0 | 11:54:16 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 5340 | 4.262 |  | 1.2576 | 1 | 1 | LH | 0 | 9 | 0 | 10:06:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 5340_Dup | 4.189 |  | 1.2363 | 1 | 1 | LH | 1.72 | 9 | 0 | 10:07:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 5340 | 4.158 |  | 0.4152 | 3 | 1 | H | 0 | 9 | 0 | 11:56:22 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 5340_Dup | 4.15 | 4.154 | 0.4144 | 3 | 1 |  | 0.2 | 9 | 0 | 11:58:28 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 90 | 2.533 |  | 0.7513 | 1 | 1 |  | 0 | 10 | 0 | 10:08:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TDN P 90_Dup | 2.455 | 2.494 | 0.7283 | 1 | 1 |  | 3.15 | 10 | 0 | 10:10:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 1 | 2.391 |  | 0.7095 | 1 | 1 |  | 0 | 11 | 0 | 10:13:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 1_Dup | 2.386 | 2.3885 | 0.7082 | 1 | 1 |  | 0.19 | 11 | 0 | 10:14:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 25 | 3.685 |  | 1.0887 | 1 | 1 |  | 0 | 12 | 0 | 10:16:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 25_Dup | 3.804 |  | 1.1236 | 1 | 1 |  | -3.18 | 12 | 0 | 10:17:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 50 | 3.378 |  | 0.9986 | 1 | 1 |  | 0 | 13 | 0 | 10:18:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 50_Dup | 3.378 | 3.378 | 0.9986 | 1 | 1 |  | 0 | 13 | 0 | 10:19:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 63 | 7.039 |  | 2.0711 | 1 | 1 | ><,LH | 0 | 14 | 0 | 10:20:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 63_Dup | 7.361 |  | 2.1654 | 1 | 1 | ><,LH | -4.47 | 14 | 0 | 10:22:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 63 | 6.59 |  | 0.6527 | 3 | 1 | H | 0 | 14 | 0 | 12:00:34 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 63_Dup | 6.634 |  | 0.657 | 3 | 1 | H | -0.67 | 14 | 0 | 12:02:40 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
MQ | -0.017 |  | 0.0043 | 1 | 1 | LL | 0 | ST-3 | 3 | 10:37:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
STND | 2.549 |  | 0.7559 | 1 | 1 |  | 101.96 | ST-2 | 3 | 10:38:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
MQ | 0.027 |  | 0.0171 | 1 | 1 |  | 0 | ST-3 | 3 | 11:29:30 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
STND | 2.661 |  | 0.7887 | 1 | 1 |  | 106.44 | ST-2 | 3 | 11:30:42 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 65 | 4.371 |  | 1.2895 | 1 | 1 | LH | 0 | 15 | 0 | 10:23:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 65_Dup | 4.281 |  | 1.2631 | 1 | 1 | LH | 2.08 | 15 | 0 | 10:24:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 65 | 4.503 |  | 0.4489 | 3 | 1 | H | 0 | 15 | 0 | 12:04:46 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 65_Dup | 4.329 |  | 0.4319 | 3 | 1 | H | 3.94 | 15 | 0 | 12:06:52 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 109 | 2.371 |  | 0.7038 | 1 | 1 |  | 0 | 16 | 0 | 10:25:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 109_Dup | 2.373 | 2.372 | 0.7043 | 1 | 1 |  | -0.07 | 16 | 0 | 10:26:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 125s | 3.502 |  | 1.0351 | 1 | 1 |  | 0 | 17 | 0 | 10:28:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 125s_Dup | 3.488 |  | 1.0309 | 1 | 1 |  | 0.41 | 17 | 0 | 10:29:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 67 | 4.442 |  | 1.3103 | 1 | 1 | LH | 0 | 18 | 0 | 10:30:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 67_Dup | 4.471 |  | 1.3188 | 1 | 1 | LH | -0.65 | 18 | 0 | 10:31:36 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 67 | 4.434 |  | 0.4422 | 3 | 1 | H | 0 | 18 | 0 | 12:08:58 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 67_Dup | 4.402 |  | 0.439 | 3 | 1 | H | 0.74 | 18 | 0 | 12:11:04 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 5340 | 4.918 |  | 1.4498 | 1 | 1 | LH | 0 | 19 | 0 | 10:32:48 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 5340_Dup | 5.017 |  | 1.4788 | 1 | 1 | LH | -1.99 | 19 | 0 | 10:34:00 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 5340 | 5.023 |  | 0.4997 | 3 | 1 | H | 0 | 19 | 0 | 12:13:10 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 5340_Dup | 4.798 | 4.9105 | 0.4777 | 3 | 1 | H | 4.59 | 19 | 0 | 12:15:16 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 90 | 3.129 |  | 0.9257 | 1 | 1 |  | 0 | 20 | 0 | 10:35:12 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
SDWS TN P 90_Dup | 3.233 | 3.181 | 0.9562 | 1 | 1 |  | -3.27 | 20 | 0 | 10:36:24 AM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
MQ | 0.045 |  | 0.0223 | 1 | 1 |  | 0 | ST-3 | 3 | 12:20:40 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
STND | 2.661 |  | 0.7887 | 1 | 1 |  | 106.44 | ST-2 | 3 | 12:21:52 PM | 2020-10-06 | TNAK | 3.4138x - 0.0314 | 0.9995
MQ | -0.025281 |  | 0.0001 | 1 | 1 | LL | 0 | ST-3 | 3 | 10:03:07 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
STND | 2.2063 |  | 0.0612 | 1 | 1 |  | 99.28 | ST-2 | 3 | 10:03:25 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 1 | 0.42568 |  | 0.0137 | 1 | 1 |  | 0 | 1 | 0 | 10:05:31 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 1_Dup | 0.38144 |  | 0.0124 | 1 | 1 |  | 10.9 | 1 | 0 | 10:05:49 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 1 | 0.26687 | 0.26854 | 0.009 | 1 | 1 |  | 0 | 1 | 0 | 11:18:31 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 1_Dup | 0.27021 |  | 0.0091 | 1 | 1 |  | -1.26 | 1 | 0 | 11:18:49 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 25 | 0.29368 | 0.28697 | 0.0098 | 1 | 1 |  | 0 | 2 | 0 | 10:07:55 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 25_Dup | 0.28026 |  | 0.0094 | 1 | 1 |  | 4.72 | 2 | 0 | 10:08:13 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 50 | 0.30039 |  | 0.01 | 1 | 1 |  | 0 | 3 | 0 | 10:10:19 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 50_Dup | 0.21684 |  | 0.0075 | 1 | 1 |  | 32.81 | 3 | 0 | 10:10:37 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 50 | 0.24015 | 0.24348 | 0.0082 | 1 | 1 |  | 0 | 3 | 0 | 11:20:55 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 50_Dup | 0.24682 |  | 0.0084 | 1 | 1 |  | -2.79 | 3 | 0 | 11:21:13 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 63 | 0.77043 | 0.77043 | 0.0236 | 1 | 1 |  | 0 | 4 | 0 | 10:12:43 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 63_Dup | 0.77043 |  | 0.0236 | 1 | 1 |  | 0 | 4 | 0 | 10:13:01 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 65 | 0.29368 | 0.292 | 0.0098 | 1 | 1 |  | 0 | 5 | 0 | 10:15:07 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 65_Dup | 0.29032 |  | 0.0097 | 1 | 1 |  | 1.16 | 5 | 0 | 10:15:25 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 67 | 0.31385 | 0.31721 | 0.0104 | 1 | 1 |  | 0 | 6 | 0 | 10:17:31 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 67_Dup | 0.32058 |  | 0.0106 | 1 | 1 |  | -2.13 | 6 | 0 | 10:17:49 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 90 | 0.11775 | 0.11775 | 0.0045 | 1 | 1 |  | 0 | 7 | 0 | 10:19:55 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 90_Dup | 0.11775 |  | 0.0045 | 1 | 1 |  | 0 | 7 | 0 | 10:20:13 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 109 | 0.13418 | 0.13582 | 0.005 | 1 | 1 |  | 0 | 8 | 0 | 10:22:19 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 109_Dup | 0.13747 |  | 0.0051 | 1 | 1 |  | -2.55 | 8 | 0 | 10:22:37 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
MQ | -0.022061 |  | 0.0002 | 1 | 1 | LL | 0 | ST-3 | 3 | 10:29:31 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
STND | 2.2104 |  | 0.0613 | 1 | 1 |  | 99.44 | ST-2 | 3 | 10:29:49 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 125s | 0.49421 | 0.49765 | 0.0157 | 1 | 1 |  | 0 | 9 | 0 | 10:24:43 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 125s_Dup | 0.50109 |  | 0.0159 | 1 | 1 |  | -1.36 | 9 | 0 | 10:25:01 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 5340 | 0.43592 | 0.43251 | 0.014 | 1 | 1 |  | 0 | 10 | 0 | 10:27:08 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 5340_Dup | 0.42909 |  | 0.0138 | 1 | 1 |  | 1.57 | 10 | 0 | 10:27:25 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 1 spk | 1.9358 |  | 0.0545 | 1 | 1 |  | 0 | 11 | 0 | 10:31:55 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 1 spk_Dup | 1.9159 |  | 0.054 | 1 | 1 |  | 0.94 | 11 | 0 | 10:32:13 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 25 spk | 1.5054 |  | 0.0435 | 1 | 1 |  | 0 | 12 | 0 | 10:34:20 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 25 spk_Dup | 1.5246 |  | 0.044 | 1 | 1 |  | -1.17 | 12 | 0 | 10:34:38 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 50 spk | 1.7302 |  | 0.0493 | 1 | 1 |  | 0 | 13 | 0 | 10:36:43 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 50 spk_Dup | 1.7185 |  | 0.049 | 1 | 1 |  | 0.62 | 13 | 0 | 10:37:02 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 63 spk | 2.19 |  | 0.0608 | 1 | 1 |  | 0 | 14 | 0 | 10:39:08 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 63 spk_Dup | 2.0683 |  | 0.0578 | 1 | 1 |  | 5.14 | 14 | 0 | 10:39:26 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 65 spk | 1.7185 |  | 0.049 | 1 | 1 |  | 0 | 15 | 0 | 10:41:32 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 65 spk_Dup | 1.7695 |  | 0.0503 | 1 | 1 |  | -2.67 | 15 | 0 | 10:41:50 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 67 spk | 1.7931 |  | 0.0509 | 1 | 1 |  | 0 | 16 | 0 | 10:43:56 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 67 spk_Dup | 1.7302 |  | 0.0493 | 1 | 1 |  | 3.26 | 16 | 0 | 10:44:14 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 90 spk | 1.3192 |  | 0.0386 | 1 | 1 |  | 0 | 17 | 0 | 10:46:20 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 90 spk_Dup | 1.2929 |  | 0.0379 | 1 | 1 |  | 1.88 | 17 | 0 | 10:46:38 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 109 sp | 1.471 |  | 0.0426 | 1 | 1 |  | 0 | 18 | 0 | 10:48:44 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 109 sp_Dup | 1.5093 |  | 0.0436 | 1 | 1 |  | -2.38 | 18 | 0 | 10:49:02 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
MQ | -0.031717 |  | -0.0001 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 10:55:56 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
STND | 2.1656 |  | 0.0602 | 1 | 1 |  | 97.63 | ST-2 | 3 | 10:56:14 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
MQ | -0.022061 |  | 0.0002 | 1 | 1 | LL | 0 | ST-3 | 3 | 11:16:07 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
STND | 2.0763 |  | 0.058 | 1 | 1 |  | 94.01 | ST-2 | 3 | 11:16:25 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
SDWS 2020 125s s | 1.7773 |  | 0.0505 | 1 | 1 |  | 0 | 19 | 0 | 10:51:08 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 125s s_Dup | 1.7067 |  | 0.0487 | 1 | 1 |  | 3.7 | 19 | 0 | 10:51:26 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 5340 s | 1.6172 |  | 0.0464 | 1 | 1 |  | 0 | 20 | 0 | 10:53:32 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
SDWS 2020 5340 s_Dup | 1.6134 |  | 0.0463 | 1 | 1 |  | 0.22 | 20 | 0 | 10:53:50 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997 | Spiked with 1mg/L of Urea
MQ | -0.018839 |  | 0.0003 | 1 | 1 | LL | 0 | ST-3 | 3 | 11:23:19 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
STND | 2.1615 |  | 0.0601 | 1 | 1 |  | 97.47 | ST-2 | 3 | 11:23:37 AM | 2021-01-12 | UREA | 70.848x^2 + 32.181x - 0.0285 | 0.9997
MQ | 5.4 |  | -0.0002 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 9:25:50 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
STND | 52.67 |  | 0.134 | 1 | 1 |  | 105.34 | ST-2 | 3 | 9:26:08 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
1 20200909 | 1920.7 | 1917.365 | 0.0885 | 1 | 50 |  | 0 | 1 | 0 | 9:28:14 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
1 20200909_Dup | 1914.03 |  | 0.0881 | 1 | 50 |  | 0.35 | 1 | 0 | 9:28:32 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
25 20200909 | 2436.06 | 2423.065 | 0.1208 | 1 | 50 |  | 0 | 2 | 0 | 9:30:38 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
25 20200909_Dup | 2410.07 |  | 0.1191 | 1 | 50 |  | 1.07 | 2 | 0 | 9:30:56 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
50 20200909 | 4380.1 | 4357.32 | 0.289 | 1 | 50 | ><,LH | 0 | 3 | 0 | 9:33:02 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
50 20200909_Dup | 4334.54 |  | 0.2833 | 1 | 50 | ><,LH | 1.05 | 3 | 0 | 9:33:20 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
63 20200909 | 4032.18 | 4028.325 | 0.2492 | 1 | 50 | ><,LH | 0 | 4 | 0 | 9:35:26 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
63 20200909_Dup | 4024.47 |  | 0.2484 | 1 | 50 | ><,LH | 0.19 | 4 | 0 | 9:35:44 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
65 20200909 | 4597.74 | 4591.815 | 0.3192 | 1 | 50 | ><,LH | 0 | 5 | 0 | 9:37:50 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
65 20200909_Dup | 4585.89 |  | 0.3174 | 1 | 50 | ><,LH | 0.26 | 5 | 0 | 9:38:08 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
67 20200909 | 4668.89 | 4672.205 | 0.3305 | 1 | 50 | ><,LH | 0 | 6 | 0 | 9:40:14 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
67 20200909_Dup | 4675.52 |  | 0.3316 | 1 | 50 | ><,LH | -0.14 | 6 | 0 | 9:40:32 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
90 20200909 | 1882.26 | 1873.025 | 0.0862 | 1 | 50 |  | 0 | 7 | 0 | 9:42:38 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
90 20200909_Dup | 1863.79 |  | 0.0851 | 1 | 50 |  | 0.99 | 7 | 0 | 9:42:56 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
109 20200909 | 869.09 | 871.23 | 0.0777 | 1 | 25 |  | 0 | 8 | 0 | 9:45:02 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
109 20200909_Dup | 873.37 |  | 0.0782 | 1 | 25 |  | -0.49 | 8 | 0 | 9:45:20 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
125s 20200909 | 2858.37 | 2842.24 | 0.1497 | 1 | 50 |  | 0 | 9 | 0 | 9:47:26 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
125s 20200909_Dup | 2826.11 |  | 0.1474 | 1 | 50 |  | 1.14 | 9 | 0 | 9:47:44 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
5340 20200909 | 3788.79 | 3772.69 | 0.2252 | 1 | 50 |  | 0 | 10 | 0 | 9:49:50 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
5340 20200909_Dup | 3756.59 |  | 0.2222 | 1 | 50 |  | 0.85 | 10 | 0 | 9:50:08 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
MQ | 5.4 |  | -0.0002 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 9:52:14 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
STND | 53.72 |  | 0.1376 | 1 | 1 |  | 107.44 | ST-2 | 3 | 9:52:32 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
50 20200909 | 5040.67 | 5040.67 | 0.0372 | 5 | 50 | H | 0 | 3 | 0 | 9:58:32 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
50 20200909_Dup | 5040.67 |  | 0.0372 | 5 | 50 | H | 0 | 3 | 0 | 10:00:02 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
63 20200909 | 4219.26 | 4430.4 | 0.0286 | 5 | 50 | H | 0 | 4 | 0 | 10:01:32 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
63 20200909_Dup | 4641.54 |  | 0.033 | 5 | 50 | H | -9.53 | 4 | 0 | 10:03:02 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
65 20200909 | 5012.29 | 5373.385 | 0.0369 | 5 | 50 | H | 0 | 5 | 0 | 10:04:32 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
65 20200909_Dup | 5734.48 |  | 0.0446 | 5 | 50 | H | -13.44 | 5 | 0 | 10:06:02 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
67 20200909 | 4993.36 | 5345.325 | 0.0367 | 5 | 50 | H | 0 | 6 | 0 | 10:07:32 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
67 20200909_Dup | 5697.29 |  | 0.0442 | 5 | 50 | H | -13.17 | 6 | 0 | 10:09:02 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
MQ | 6.26 |  | 0.0019 | 1 | 1 | ><,LL | 0 | ST-3 | 3 | 10:10:14 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
STND | 54.41 |  | 0.14 | 1 | 1 |  | 108.83 | ST-2 | 3 | 10:11:44 AM | 2021-01-19 | SO4K | -438.64x^2 + 410.91x + 5.4837 | 0.9993
MQ | 0.0048 |  | 0.002 | 1 | 1 |  | 0 | ST-3 | 3 | 12:12:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
STND | 0.9667 |  | 0.3802 | 1 | 1 |  | 96.67 | ST-2 | 3 | 12:13:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 1 | 0.0119 | 0.011 | 0.0048 | 1 | 1 |  | 0 | 1 | 0 | 12:14:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 1_Dup | 0.0101 |  | 0.0042 | 1 | 1 |  | 16.2 | 1 | 0 | 12:16:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 1 | 0.0105 |  | 0.0043 | 1 | 1 |  | 0 | 1 | 0 | 1:28:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 1_Dup | 0.0064 |  | 0.0027 | 1 | 1 |  | 48.17 | 1 | 0 | 1:29:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 25 | 0.0101 | 0.008 | 0.0042 | 1 | 1 |  | 0 | 2 | 0 | 12:17:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 25_Dup | 0.0078 |  | 0.0032 | 1 | 1 |  | 25.56 | 2 | 0 | 12:18:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 25 | 0.0059 |  | 0.0025 | 1 | 1 |  | 0 | 2 | 0 | 1:30:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 25_Dup | 0.0082 |  | 0.0034 | 1 | 1 |  | -32.47 | 2 | 0 | 1:31:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 50 | 0.0251 | 0.02525 | 0.01 | 1 | 1 |  | 0 | 3 | 0 | 12:19:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 50_Dup | 0.0254 |  | 0.0102 | 1 | 1 |  | -1.01 | 3 | 0 | 12:20:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 63 | 0.117 | 0.11865 | 0.0461 | 1 | 1 |  | 0 | 4 | 0 | 12:22:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 63_Dup | 0.1203 |  | 0.0474 | 1 | 1 |  | -2.79 | 4 | 0 | 12:23:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 65 | 0.0127 | 0.0077 | 0.0052 | 1 | 1 |  | 0 | 5 | 0 | 12:24:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 65_Dup | 0.0073 |  | 0.0031 | 1 | 1 |  | 53.55 | 5 | 0 | 12:25:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 65 | 0.0023 |  | 0.0011 | 1 | 1 |  | 0 | 5 | 0 | 1:32:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 65_Dup | 0.0085 |  | 0.0035 | 1 | 1 |  | -113.13 | 5 | 0 | 1:34:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 67 | 0.0109 | 0.0104 | 0.0044 | 1 | 1 |  | 0 | 6 | 0 | 12:26:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 67_Dup | 0.0099 |  | 0.004 | 1 | 1 |  | 9.82 | 6 | 0 | 12:28:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 90 | 0.0027 | 0.00195 | 0.0012 | 1 | 1 |  | 0 | 7 | 0 | 12:29:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 90_Dup | 0.0045 |  | 0.002 | 1 | 1 |  | -49.24 | 7 | 0 | 12:30:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
MQ | -0.0013 |  | -0.0004 | 1 | 1 | INV,LL | 0 | ST-3 | 3 | 12:38:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
STND | 0.9776 |  | 0.3844 | 1 | 1 |  | 97.76 | ST-2 | 3 | 12:40:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
MQ | -0.0033 |  | -0.0011 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 1:25:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
STND | 0.9795 |  | 0.3852 | 1 | 1 |  | 97.95 | ST-2 | 3 | 1:26:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 90 | -0.0012 |  | -0.0003 | 1 | 1 | INV,LL | 0 | 7 | 0 | 1:35:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 90_Dup | 0.0018 |  | 0.0009 | 1 | 1 |  | -987.54 | 7 | 0 | 1:36:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 109 | 0.0025 | 0.002725 | 0.0012 | 1 | 1 |  | 0 | 8 | 0 | 12:31:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 109_Dup | 0.005 |  | 0.0022 | 1 | 1 |  | -67.96 | 8 | 0 | 12:32:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 109 | 0.0021 |  | 0.001 | 1 | 1 |  | 0 | 8 | 0 | 1:37:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 109_Dup | 0.0013 |  | 0.0007 | 1 | 1 |  | 44.68 | 8 | 0 | 1:38:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 125s | 0.09 | 0.09395 | 0.0356 | 1 | 1 |  | 0 | 9 | 0 | 12:34:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 125s_Dup | 0.0979 |  | 0.0386 | 1 | 1 |  | -8.4 | 9 | 0 | 12:35:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 5340 | 0.0297 | 0.0307 | 0.0118 | 1 | 1 |  | 0 | 10 | 0 | 12:36:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 5340_Dup | 0.0317 |  | 0.0126 | 1 | 1 |  | -6.63 | 10 | 0 | 12:37:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
SDWS 2020 1 spk | 0.125 |  | 0.0493 | 1 | 1 |  | 0 | 11 | 0 | 1:40:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 1 spk_Dup | 0.1189 |  | 0.0469 | 1 | 1 |  | 5.01 | 11 | 0 | 1:41:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 25 spk | 0.1117 |  | 0.0441 | 1 | 1 |  | 0 | 12 | 0 | 1:42:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 25 spk_Dup | 0.11 |  | 0.0434 | 1 | 1 |  | 1.61 | 12 | 0 | 1:43:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 50 spk | 0.143 |  | 0.0564 | 1 | 1 |  | 0 | 13 | 0 | 1:44:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 50 spk_Dup | 0.1402 |  | 0.0553 | 1 | 1 |  | 1.98 | 13 | 0 | 1:46:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 63 spk | 0.2135 |  | 0.0841 | 1 | 1 |  | 0 | 14 | 0 | 1:47:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 63 spk_Dup | 0.2191 |  | 0.0863 | 1 | 1 |  | -2.59 | 14 | 0 | 1:48:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 65 spk | 0.1415 |  | 0.0558 | 1 | 1 |  | 0 | 15 | 0 | 1:49:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 65 spk_Dup | 0.1415 |  | 0.0558 | 1 | 1 |  | 0 | 15 | 0 | 1:50:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 67 spk | 0.1313 |  | 0.0518 | 1 | 1 |  | 0 | 16 | 0 | 1:52:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 67 spk_Dup | 0.1316 |  | 0.0519 | 1 | 1 |  | -0.19 | 16 | 0 | 1:53:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 90 spk | 0.1044 |  | 0.0412 | 1 | 1 |  | 0 | 17 | 0 | 1:54:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 90 spk_Dup | 0.0993 |  | 0.0392 | 1 | 1 |  | 5 | 17 | 0 | 1:55:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 109 sp | 0.096 |  | 0.0379 | 1 | 1 |  | 0 | 18 | 0 | 1:56:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 109 sp_Dup | 0.1041 |  | 0.0411 | 1 | 1 |  | -8.14 | 18 | 0 | 1:58:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 125s s | 0.2005 |  | 0.079 | 1 | 1 |  | 0 | 19 | 0 | 1:59:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 125s s_Dup | 0.199 |  | 0.0784 | 1 | 1 |  | 0.76 | 19 | 0 | 2:00:32 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 5340 s | 0.1362 |  | 0.0537 | 1 | 1 |  | 0 | 20 | 0 | 2:01:44 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
SDWS 2020 5340 s_Dup | 0.1392 |  | 0.0549 | 1 | 1 |  | -2.22 | 20 | 0 | 2:02:56 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994 | Spiked with 0.1 mg/L N
MQ | -0.0017 |  | -0.0005 | 1 | 1 | INV,><,LL | 0 | ST-3 | 3 | 2:04:08 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994
STND | 0.9749 |  | 0.3834 | 1 | 1 |  | 97.49 | ST-2 | 3 | 2:05:20 PM | 2021-01-12 | WNO3 | 2.544x - 0.0005 | 0.9994

## ChlA
Tube # | Location | Date | Depth (m) | mL Filtered | L filtered | Rep # | Abs @ 750 | Abs @ 665 | Abs @ 649 | Chl A (µg/L) | Average | %Error | RunDate | Notes
13 | 37 | 2020-07-21 | surface | 400 | 0.4 | 1 | 0.001 | 0.007 | 0.002 | 1.911 |  |  | 2021-01-20
16 | 88 | 2020-07-21 | surface | 400 | 0.4 | 1 | 0.001 | 0.005 | 0.002 | 1.226 |  |  | 2021-01-20
15 | 97 | 2020-07-21 | surface | 400 | 0.4 | 1 | 0.002 | 0.005 | 0.003 | 0.8835 |  |  | 2021-01-20
14 | 109 | 2020-07-21 | surface | 400 | 0.4 | 1 | 0.002 | 0.007 | 0.004 | 1.4245 |  |  | 2021-01-20
3 | 88 | 2020-08-13 |  | 200 | 0.2 | 1 | 0.002 | 0.033 | 0.013 | 18.067 |  |  | 2021-01-20
2 | 97 | 2020-08-13 |  | 500 | 0.5 | 1 | 0.002 | 0.013 | 0.005 | 2.6684 |  |  | 2021-01-20
12 | 37 | 2020-08-14 | surface | 400 | 0.4 | 1 | 0.002 | 0.008 | 0.003 | 1.911 |  |  | 2021-01-20
11 | 109 | 2020-08-14 | surface | 350 | 0.35 | 1 | 0.008 | 0.05 | 0.021 | 14.3006 |  |  | 2021-01-20
1 | 109 | 2020-09-09 | surface | 400 | 0.4 | 1 | 0 | 0.013 | 0.005 | 3.7325 | NA | NA | 2020-12-07
2 | 1 | 2020-09-09 | surface | 150 | 0.15 | 1 | 0 | 0.077 | 0.027 | 59.9587 | 56.6564 | -11.657 | 2020-12-07
3 | 1 | 2020-09-09 | surface | 166 | 0.166 | 2 | 0.002 | 0.078 | 0.029 | 53.3542 |  |  | 2020-12-07
4 | 25 | 2020-09-09 | surface | 50 | 0.05 | 1 | -0.001 | 0.047 | 0.017 | 110.784 | 105.9457 | -9.1335 | 2020-12-07
5 | 25 | 2020-09-09 | surface | 54 | 0.054 | 2 | 0.001 | 0.048 | 0.018 | 101.1074 |  |  | 2020-12-07
22 | 37 | 2020-09-10 | surface | 250 | 0.25 | 1 | 0.002 | 0.046 | 0.015 | 21.1168 |  |  | 2021-01-20
6 | 50 | 2020-09-09 | surface | 25 | 0.025 | 1 | 0 | 0.026 | 0.012 | 114.832 | 122.616 | 12.6965 | 2020-12-07
7 | 50 | 2020-09-09 | surface | 25 | 0.025 | 2 | 0 | 0.028 | 0.01 | 130.4 |  |  | 2020-12-07
8 | 63 | 2020-09-09 | surface | 290 | 0.29 | 1 | 0.001 | 0.007 | 0.003 | 2.4372 | 3.2238 | 48.798 | 2020-12-07
9 | 63 | 2020-09-09 | surface | 250 | 0.25 | 2 | -0.001 | 0.008 | 0.003 | 4.0104 |  |  | 2020-12-07
10 | 65 | 2020-09-09 | surface | 26 | 0.026 | 1 | -0.001 | 0.028 | 0.01 | 128.4385 | 163.7147 | 43.0948 | 2020-12-07
11 | 65 | 2020-09-09 | surface | 22 | 0.022 | 2 | -0.001 | 0.036 | 0.011 | 198.9909 |  |  | 2020-12-07
12 | 67 | 2020-09-09 | surface | 30 | 0.03 | 1 | 0 | 0.024 | 0.008 | 94.24 | 125.2533 | 49.521 | 2020-12-07
13 | 67 | 2020-09-09 | surface | 24 | 0.024 | 2 | 0 | 0.032 | 0.011 | 156.2667 |  |  | 2020-12-07
21 | 97 | 2020-09-10 | surface | 450 | 0.45 | 1 | 0.002 | 0.012 | 0.005 | 2.6604 |  |  | 2021-01-20
20 | 109 | 2020-09-10 | surface | 450 | 0.45 | 1 | 0.001 | 0.006 | 0.002 | 1.3942 |  |  | 2021-01-20
14 | 90 | 2020-09-10 | surface | 168 | 0.168 | 1 | -0.001 | 0.052 | 0.019 | 36.3631 | 34.7068 | -9.5442 | 2020-12-07
15 | 90 | 2020-09-10 | surface | 170 | 0.17 | 2 | 0 | 0.049 | 0.019 | 33.0506 |  |  | 2020-12-07
16 | 125S | 2020-09-09 | surface | 50 | 0.05 | 1 | -0.001 | 0.04 | 0.015 | 93.908 | 80.225 | -34.1117 | 2020-12-07
17 | 125S | 2020-09-09 | surface | 62 | 0.062 | 2 | 0 | 0.036 | 0.014 | 66.5419 |  |  | 2020-12-07
18 | 5340 | 2020-09-09 | surface | 50 | 0.05 | 1 | 0 | 0.059 | 0.022 | 136.316 | 138.48 | 3.1254 | 2020-12-07
19 | 5340 | 2020-09-09 | surface | 50 | 0.05 | 2 | 0 | 0.061 | 0.023 | 140.644 |  |  | 2020-12-07
19 | 37 | 2020-10-02 | surface | 111 | 0.111 | 1 | 0.004 | 0.197 | 0.091 | 193.0613 |  |  | 2021-01-20
17 | 97 | 2020-10-02 | surface | 500 | 0.5 | 1 | 0.005 | 0.013 | 0.008 | 1.8464 |  |  | 2021-01-20
18 | 109 | 2020-10-02 | surface | 354 | 0.354 | 1 | 0.004 | 0.057 | 0.021 | 17.7452 |  |  | 2021-01-20

## Methods
Method ID | Analyte | Units | Method Limits | Filtering | Method Information | SmartChem Method ID and EPA Method Criteria
NH3K | Ammonia | mg/L N | 0.01 to 2.00 mg/L | Filter Raw water with 0.45µm nylon syringe filter. Then preserved with H2SO4 to a pH < 2 | The sample is buffered at a pH of 9.5 with a borate buffer in order to decrease the hydrolysis of cyanates and organic nitrogen compounds, and is distilled into a 2 % solution of boric acid. Ammonia reacts with alkaline phenol and then hypochlorite to form indophenol blue (Berthelot reaction). The amount of color developed is proportional to the concentration of ammonia. The color is further intensified through the addition of sodium nitroprusside and measured colorimetrically at 630 nm. | SC 170 & 200 Ammonia AMM-001-A, EPA 350.1 (May 2011)
WNO3 | Nitrate and Nitrite (also known as total oxidized nitrogen TON - or (NOx)-1 ) | mg/L N | 0.02 tp 2.00 mg/L | Filter Raw water with 0.45µm nylon syringe filter. | This method determines the combined nitrate (NO3)1- + nitrite (NO2)1- present in the sample. This sum is also known as total oxidized nitrogen (TON) and also referred to as (NOx)1-. Nitrate is reduced to nitrite by passage of a sample through an open tubular copperized cadmium redactor (OTCR). The resulting nitrate plus any nitrite originally present in the sample is then determined as NO2 by diazotizing with sulfanilamide followed by coupling with N-(1-naphthyl)-ethylenediamine dihydrochloride to form a highly colored azo dye, which is measured colorimetrically at 520 or 550 nm. The color system obeys Beer’s Law up to 0.180 mg/L NO2/L in a 10 mm cell at 543 nm. Nitrate concentrations are determined by subtracting the nitrite concentrations determined by SMARTCHEM® 170/200 Method NO2-001-A (Rev: May 2011) from the TON-(NOx) determined by this method, or by determining the nitrite concentration by analyzing the sample without the reduction step. | SC 170 & 200 Nitrate-Nitrite NO3-001-A, by Cadmium Coil, EPA 353.2 (May 2011)
WNO2 | Nitrite | mg/L NO2- | 0.01 to 1.00 mg/L | Filter Raw water with 0.45µm nylon syringe filter. | This method determines nitrite, NO2-, present in the sample only using the nitrate-nitrite open tubular cadmium reductor coil (OTCR) method without passing the sample through the OTCR coil. Nitrite is determined by the diazotizing with sulfanilamide followed by coupling with N-(1-naphthyl)- ethylenediamine dihydrochloride to form a highly colored azo dye, which is measured colorimetrically at 543, 550 or 520 nm. | SC 170 & 200 Nitrite NO2-001-A, EPA 353.2 and SM 4500 NO3-F (May 2011)
WP1W | Soluble Reactive Phosphorus | mg/L P | 0.01 to 1.00 mg/L | Filter Raw water with 0.45µm nylon syringe filter. | Analysis is preformed within 24 hrs of sampling and includes ammonium molybdate and antimony potassium tartrate react in an acid medium with dilute solutions of phosphorus to form an antimony-phospho-molybdate complex. This complex is reduced to an intensely blue-colored complex by ascorbic acid. The color measured at 880 or 660 nm is proportional to the phosphorus concentration. Only orthophosphate forms a blue color in this test. | SC 170 & 200 Phosphorus PHO-001-A, EPA 365.1 (May 2011)
SULF | Sulfate | mg/L SO₄²- | 10 to 80 mg/L | Filter Raw water with 0.45µm nylon syringe filter. | Sulfate ion is converted to a barium sulfate suspension under controlled conditions. A solution containing glycerin and sodium chloride is added to stabilize the suspension and minimize interferences. The resulting turbidity is determined at 420 nm and compared to a curve prepared from standard sulfate solutions. | SC 170 & 200 Sulfate SUL-001-A, SM 426C 10-40 mg-L (May 2011)
WP3D | Total Dissolved Phosphorus and Total Phosphorus | mg/L P | 0.01 to 1.00 mg/L | TP = Raw Water TDP = Filter raw water with a 0.45µm nylon syringe filter | The TDP and TP methods involves an autoclave pre-treatment using acid persulfate solutions to break down dissolved organic and particulate phosphorus. Total Phosphorus (TP) – All of the phosphorus present in the sample regardless of forms. Dissolved phosphorus (TDP) – All of the forms present in the filtrate of a sample filtered through a phosphorus-free filter (0.45 micron pore size). This method is the same as the SRP, but the standards have gone through the same autoclave pre-treatment. Ammonium molybdate and antimony potassium tartrate react in an acid medium with dilute solutions of phosphorus to form an antimony-phospho-molybdate complex. This complex is reduced to an intensely blue-colored complex by ascorbic acid. The color measured at 880 or 660 nm is proportional to the phosphorus concentration. Only orthophosphate forms a blue color in this test. Polyphosphates (and some organic phosphorus compounds) may be converted to the orthophosphate form by manual sulfuric acid hydrolysis. Organic phosphorus compounds may be converted to the orthophosphate form by manual persulfate digestion. | SC 170 & 200 Phosphorus PHO-001-B, EPA 365.1 (May 2015)
TNAK | Total Nitrogen and Total Dissolved Nitrogen | mg/L N | 0.02 to 5.00 mg/L | TN = Raw Water TDN = Filter raw water with a 0.45µm nylon syringe filter | All forms of nitrogen are converted to nitrate using a potassium persulfate NaOH digestion process. The digested sample is then analyzed via SmartChem for its combined nitrate + nitrite content. The result generated is considered Total Nitrogen. TKN is determined by subtracting the predetermined nitrate + nitrite value of the undigested water (WNO3). Nitrate + nitrite concentrations are determined by subtracting the nitrite concentrations determined by SmartChem method (WNO2). If the initial sample has high DOC levels (slight yellow colouration) the sample will be diluted prior to digestion of the sample. | SC Total Kjeldahl and Dissolved Nitrogen 2022N-1106
UREA | Urea | mg/L CH4N2O | 0 to 5 mg/L | Filter Raw water with 0.45µm nylon syringe filter. | Measuring urea concentrations in the range between 0 and 5 mg/L. Urea reacts with phenol to form a yellow colored product (indophenol yellow) that can be determined spectrophotometrically. | SC 170 & 200 Urea (Low Range) URE-002-A (May 2012)